## Run results
Vi-CELL XR 2.06.2
Beckman Coulter Inc.
Sample ID | NXTS122ND8S10
File name | C:\ProgramData\Vi-CELLXR\NXTS122ND8S10.smp
Sample date | 10 Mar 2021 11:27:23 AM
Unit S/N | BC01004
User name
Comment
Results
Total cells | 4635
Viable cells | 4105
Viability (%) | 88.6
Total cells / ml (x10^6) | 5.26
Viable cells / ml (x10^6) | 4.65
Average diameter (microns) | 8.34
Average circularity | 0.871
Images | 50
Average cells / image | 92.7
Microns/pixel | 0.6889
Average background intensity | 207.8
Settings
Cell type | Red Cell
Minimum diameter (microns) | 3.00
Maximum diameter (microns) | 30.0
Minimum circularity | 0.500
Dilution factor | 1.000
Cell brightness (%) | 90
Cell sharpness | 60
Viable cell spot brightness (%) | 75
Viable cell spot area (%) | 2.00
Decluster degree | Low
Number of size bins | 135
Field of view (microns) | 831 x 611
Sample depth (microns) | 80.6
Image size (pixels) | 1280 x 960
Aspirate cycles | 4
Trypan blue mixing cycles | 1

## Distributions
Size distribution |  |  |  | Circularity distribution
Min diam | Max diam | Count | Viable count | Min circularity | Max circularity | Count | Viable count
3.00 | 3.20 | 1.00 | 1.00 | 0.005 | 0.015 | 0.000 | 0.000
3.20 | 3.40 | 1.00 | 1.00 | 0.015 | 0.025 | 0.000 | 0.000
3.40 | 3.60 | 4.00 | 3.00 | 0.025 | 0.035 | 0.000 | 0.000
3.60 | 3.80 | 1.00 | 1.00 | 0.035 | 0.045 | 1.00 | 1.00
3.80 | 4.00 | 7.00 | 4.00 | 0.045 | 0.055 | 8.00 | 8.00
4.00 | 4.20 | 3.00 | 1.00 | 0.055 | 0.065 | 0.000 | 0.000
4.20 | 4.40 | 8.00 | 3.00 | 0.065 | 0.075 | 1.00 | 1.00
4.40 | 4.60 | 5.00 | 3.00 | 0.075 | 0.085 | 0.000 | 0.000
4.60 | 4.80 | 16.0 | 6.00 | 0.085 | 0.095 | 0.000 | 0.000
4.80 | 5.00 | 36.0 | 18.0 | 0.095 | 0.105 | 1.00 | 1.00
5.00 | 5.20 | 52.0 | 35.0 | 0.105 | 0.115 | 0.000 | 0.000
5.20 | 5.40 | 70.0 | 51.0 | 0.115 | 0.125 | 0.000 | 0.000
5.40 | 5.60 | 59.0 | 50.0 | 0.125 | 0.135 | 0.000 | 0.000
5.60 | 5.80 | 53.0 | 46.0 | 0.135 | 0.145 | 0.000 | 0.000
5.80 | 6.00 | 67.0 | 56.0 | 0.145 | 0.155 | 2.00 | 2.00
6.00 | 6.20 | 55.0 | 46.0 | 0.155 | 0.165 | 0.000 | 0.000
6.20 | 6.40 | 70.0 | 64.0 | 0.165 | 0.175 | 1.00 | 1.00
6.40 | 6.60 | 80.0 | 73.0 | 0.175 | 0.185 | 0.000 | 0.000
6.60 | 6.80 | 130 | 121 | 0.185 | 0.195 | 0.000 | 0.000
6.80 | 7.00 | 159 | 137 | 0.195 | 0.205 | 0.000 | 0.000
7.00 | 7.20 | 149 | 133 | 0.205 | 0.215 | 0.000 | 0.000
7.20 | 7.40 | 210 | 183 | 0.215 | 0.225 | 1.00 | 1.00
7.40 | 7.60 | 233 | 213 | 0.225 | 0.235 | 0.000 | 0.000
7.60 | 7.80 | 252 | 225 | 0.235 | 0.245 | 0.000 | 0.000
7.80 | 8.00 | 256 | 236 | 0.245 | 0.255 | 0.000 | 0.000
8.00 | 8.20 | 230 | 208 | 0.255 | 0.265 | 0.000 | 0.000
8.20 | 8.40 | 249 | 224 | 0.265 | 0.275 | 0.000 | 0.000
8.40 | 8.60 | 237 | 220 | 0.275 | 0.285 | 0.000 | 0.000
8.60 | 8.80 | 257 | 229 | 0.285 | 0.295 | 0.000 | 0.000
8.80 | 9.00 | 237 | 212 | 0.295 | 0.305 | 0.000 | 0.000
9.00 | 9.20 | 196 | 172 | 0.305 | 0.315 | 0.000 | 0.000
9.20 | 9.40 | 167 | 147 | 0.315 | 0.325 | 0.000 | 0.000
9.40 | 9.60 | 133 | 118 | 0.325 | 0.335 | 0.000 | 0.000
9.60 | 9.80 | 149 | 135 | 0.335 | 0.345 | 0.000 | 0.000
9.80 | 10.0 | 145 | 134 | 0.345 | 0.355 | 0.000 | 0.000
10.0 | 10.2 | 123 | 110 | 0.355 | 0.365 | 1.00 | 1.00
10.2 | 10.4 | 88.0 | 81.0 | 0.365 | 0.375 | 0.000 | 0.000
10.4 | 10.6 | 87.0 | 83.0 | 0.375 | 0.385 | 0.000 | 0.000
10.6 | 10.8 | 71.0 | 67.0 | 0.385 | 0.395 | 0.000 | 0.000
10.8 | 11.0 | 41.0 | 36.0 | 0.395 | 0.405 | 1.00 | 1.00
11.0 | 11.2 | 36.0 | 30.0 | 0.405 | 0.415 | 1.00 | 1.00
11.2 | 11.4 | 32.0 | 28.0 | 0.415 | 0.425 | 0.000 | 0.000
11.4 | 11.6 | 28.0 | 24.0 | 0.425 | 0.435 | 2.00 | 2.00
11.6 | 11.8 | 27.0 | 23.0 | 0.435 | 0.445 | 0.000 | 0.000
11.8 | 12.0 | 19.0 | 19.0 | 0.445 | 0.455 | 0.000 | 0.000
12.0 | 12.2 | 13.0 | 10.0 | 0.455 | 0.465 | 1.00 | 1.00
12.2 | 12.4 | 9.00 | 7.00 | 0.465 | 0.475 | 1.00 | 1.00
12.4 | 12.6 | 9.00 | 9.00 | 0.475 | 0.485 | 1.00 | 1.00
12.6 | 12.8 | 15.0 | 14.0 | 0.485 | 0.495 | 1.00 | 1.00
12.8 | 13.0 | 3.00 | 3.00 | 0.495 | 0.505 | 1.00 | 1.00
13.0 | 13.2 | 6.00 | 5.00 | 0.505 | 0.515 | 1.00 | 0.000
13.2 | 13.4 | 11.0 | 10.0 | 0.515 | 0.525 | 1.00 | 1.00
13.4 | 13.6 | 9.00 | 8.00 | 0.525 | 0.535 | 2.00 | 1.00
13.6 | 13.8 | 2.00 | 2.00 | 0.535 | 0.545 | 0.000 | 0.000
13.8 | 14.0 | 4.00 | 3.00 | 0.545 | 0.555 | 2.00 | 2.00
14.0 | 14.2 | 6.00 | 6.00 | 0.555 | 0.565 | 3.00 | 1.00
14.2 | 14.4 | 6.00 | 6.00 | 0.565 | 0.575 | 1.00 | 0.000
14.4 | 14.6 | 3.00 | 3.00 | 0.575 | 0.585 | 7.00 | 3.00
14.6 | 14.8 | 1.00 | 1.00 | 0.585 | 0.595 | 5.00 | 5.00
14.8 | 15.0 | 4.00 | 3.00 | 0.595 | 0.605 | 4.00 | 2.00
15.0 | 15.2 | 2.00 | 2.00 | 0.605 | 0.615 | 1.00 | 1.00
15.2 | 15.4 | 0.000 | 0.000 | 0.615 | 0.625 | 1.00 | 1.00
15.4 | 15.6 | 0.000 | 0.000 | 0.625 | 0.635 | 3.00 | 1.00
15.6 | 15.8 | 1.00 | 1.00 | 0.635 | 0.645 | 4.00 | 1.00
15.8 | 16.0 | 0.000 | 0.000 | 0.645 | 0.655 | 3.00 | 0.000
16.0 | 16.2 | 0.000 | 0.000 | 0.655 | 0.665 | 2.00 | 1.00
16.2 | 16.4 | 0.000 | 0.000 | 0.665 | 0.675 | 6.00 | 3.00
16.4 | 16.6 | 0.000 | 0.000 | 0.675 | 0.685 | 2.00 | 0.000
16.6 | 16.8 | 0.000 | 0.000 | 0.685 | 0.695 | 10.0 | 6.00
16.8 | 17.0 | 0.000 | 0.000 | 0.695 | 0.705 | 8.00 | 2.00
17.0 | 17.2 | 0.000 | 0.000 | 0.705 | 0.715 | 12.0 | 7.00
17.2 | 17.4 | 1.00 | 1.00 | 0.715 | 0.725 | 3.00 | 2.00
17.4 | 17.6 | 0.000 | 0.000 | 0.725 | 0.735 | 11.0 | 8.00
17.6 | 17.8 | 0.000 | 0.000 | 0.735 | 0.745 | 18.0 | 11.0
17.8 | 18.0 | 0.000 | 0.000 | 0.745 | 0.755 | 23.0 | 18.0
18.0 | 18.2 | 1.00 | 1.00 | 0.755 | 0.765 | 25.0 | 15.0
18.2 | 18.4 | 0.000 | 0.000 | 0.765 | 0.775 | 34.0 | 25.0
18.4 | 18.6 | 0.000 | 0.000 | 0.775 | 0.785 | 45.0 | 28.0
18.6 | 18.8 | 0.000 | 0.000 | 0.785 | 0.795 | 66.0 | 49.0
18.8 | 19.0 | 0.000 | 0.000 | 0.795 | 0.805 | 75.0 | 59.0
19.0 | 19.2 | 0.000 | 0.000 | 0.805 | 0.815 | 103 | 75.0
19.2 | 19.4 | 0.000 | 0.000 | 0.815 | 0.825 | 112 | 91.0
19.4 | 19.6 | 0.000 | 0.000 | 0.825 | 0.835 | 125 | 100
19.6 | 19.8 | 0.000 | 0.000 | 0.835 | 0.845 | 145 | 128
19.8 | 20.0 | 0.000 | 0.000 | 0.845 | 0.855 | 157 | 132
20.0 | 20.2 | 0.000 | 0.000 | 0.855 | 0.865 | 283 | 250
20.2 | 20.4 | 0.000 | 0.000 | 0.865 | 0.875 | 222 | 202
20.4 | 20.6 | 0.000 | 0.000 | 0.875 | 0.885 | 276 | 254
20.6 | 20.8 | 0.000 | 0.000 | 0.885 | 0.895 | 284 | 259
20.8 | 21.0 | 0.000 | 0.000 | 0.895 | 0.905 | 296 | 268
21.0 | 21.2 | 0.000 | 0.000 | 0.905 | 0.915 | 316 | 291
21.2 | 21.4 | 0.000 | 0.000 | 0.915 | 0.925 | 271 | 237
21.4 | 21.6 | 0.000 | 0.000 | 0.925 | 0.935 | 271 | 250
21.6 | 21.8 | 0.000 | 0.000 | 0.935 | 0.945 | 243 | 221
21.8 | 22.0 | 0.000 | 0.000 | 0.945 | 0.955 | 146 | 129
22.0 | 22.2 | 0.000 | 0.000 | 0.955 | 0.965 | 79.0 | 71.0
22.2 | 22.4 | 0.000 | 0.000 | 0.965 | 0.975 | 102 | 88.0
22.4 | 22.6 | 0.000 | 0.000 | 0.975 | 0.985 | 45.0 | 41.0
22.6 | 22.8 | 0.000 | 0.000 | 0.985 | 0.995 | 13.0 | 12.0
22.8 | 23.0 | 0.000 | 0.000 | 0.995 | 1.00 | 10.0 | 9.00
23.0 | 23.2 | 0.000 | 0.000
23.2 | 23.4 | 0.000 | 0.000
23.4 | 23.6 | 0.000 | 0.000
23.6 | 23.8 | 0.000 | 0.000
23.8 | 24.0 | 0.000 | 0.000
24.0 | 24.2 | 0.000 | 0.000
24.2 | 24.4 | 0.000 | 0.000
24.4 | 24.6 | 0.000 | 0.000
24.6 | 24.8 | 0.000 | 0.000
24.8 | 25.0 | 0.000 | 0.000
25.0 | 25.2 | 0.000 | 0.000
25.2 | 25.4 | 0.000 | 0.000
25.4 | 25.6 | 0.000 | 0.000
25.6 | 25.8 | 0.000 | 0.000
25.8 | 26.0 | 0.000 | 0.000
26.0 | 26.2 | 0.000 | 0.000
26.2 | 26.4 | 0.000 | 0.000
26.4 | 26.6 | 0.000 | 0.000
26.6 | 26.8 | 0.000 | 0.000
26.8 | 27.0 | 0.000 | 0.000
27.0 | 27.2 | 0.000 | 0.000
27.2 | 27.4 | 0.000 | 0.000
27.4 | 27.6 | 0.000 | 0.000
27.6 | 27.8 | 0.000 | 0.000
27.8 | 28.0 | 0.000 | 0.000
28.0 | 28.2 | 0.000 | 0.000
28.2 | 28.4 | 0.000 | 0.000
28.4 | 28.6 | 0.000 | 0.000
28.6 | 28.8 | 0.000 | 0.000
28.8 | 29.0 | 0.000 | 0.000
29.0 | 29.2 | 0.000 | 0.000
29.2 | 29.4 | 0.000 | 0.000
29.4 | 29.6 | 0.000 | 0.000
29.6 | 29.8 | 0.000 | 0.000
29.8 | 30.0 | 0.000 | 0.000

## Per-image data
Per-image data
Image | Viability % | Total cells | Viable cells | Total cells/ml (x10^6) | Viable cells/ml (x10^6) | Ave. diam. (microns) | Ave. circularity
1 | 84.9 | 73 | 62 | 4.14 | 3.51 | 8.81 | 0.867
2 | 88.5 | 96 | 85 | 5.44 | 4.82 | 8.57 | 0.875
3 | 87.4 | 95 | 83 | 5.39 | 4.71 | 8.58 | 0.868
4 | 90.5 | 95 | 86 | 5.39 | 4.88 | 8.33 | 0.872
5 | 91.7 | 96 | 88 | 5.44 | 4.99 | 8.25 | 0.876
6 | 89.9 | 89 | 80 | 5.05 | 4.54 | 8.43 | 0.858
7 | 88.9 | 99 | 88 | 5.61 | 4.99 | 8.40 | 0.860
8 | 83.7 | 86 | 72 | 4.88 | 4.08 | 8.37 | 0.870
9 | 79.5 | 78 | 62 | 4.42 | 3.51 | 8.12 | 0.871
10 | 90.4 | 73 | 66 | 4.14 | 3.74 | 8.39 | 0.884
11 | 90.4 | 83 | 75 | 4.71 | 4.25 | 8.43 | 0.883
12 | 89.0 | 73 | 65 | 4.14 | 3.68 | 8.22 | 0.881
13 | 90.6 | 96 | 87 | 5.44 | 4.93 | 8.31 | 0.867
14 | 82.0 | 89 | 73 | 5.05 | 4.14 | 8.27 | 0.870
15 | 93.8 | 97 | 91 | 5.50 | 5.16 | 8.23 | 0.881
16 | 87.6 | 97 | 85 | 5.50 | 4.82 | 8.86 | 0.870
17 | 88.3 | 111 | 98 | 6.29 | 5.56 | 8.14 | 0.859
18 | 92.9 | 85 | 79 | 4.82 | 4.48 | 8.56 | 0.881
19 | 84.6 | 91 | 77 | 5.16 | 4.37 | 8.26 | 0.881
20 | 82.4 | 85 | 70 | 4.82 | 3.97 | 8.06 | 0.873
21 | 92.4 | 79 | 73 | 4.48 | 4.14 | 8.30 | 0.876
22 | 87.7 | 81 | 71 | 4.59 | 4.03 | 8.40 | 0.866
23 | 91.8 | 85 | 78 | 4.82 | 4.42 | 8.13 | 0.871
24 | 90.3 | 103 | 93 | 5.84 | 5.27 | 8.56 | 0.869
25 | 88.3 | 94 | 83 | 5.33 | 4.71 | 8.08 | 0.850
26 | 89.7 | 87 | 78 | 4.93 | 4.42 | 8.25 | 0.873
27 | 93.8 | 80 | 75 | 4.54 | 4.25 | 8.44 | 0.877
28 | 86.5 | 89 | 77 | 5.05 | 4.37 | 8.57 | 0.870
29 | 87.3 | 79 | 69 | 4.48 | 3.91 | 8.08 | 0.874
30 | 88.3 | 94 | 83 | 5.33 | 4.71 | 8.24 | 0.876
31 | 86.4 | 88 | 76 | 4.99 | 4.31 | 8.03 | 0.874
32 | 92.0 | 88 | 81 | 4.99 | 4.59 | 8.38 | 0.874
33 | 89.6 | 106 | 95 | 6.01 | 5.39 | 8.40 | 0.874
34 | 86.5 | 104 | 90 | 5.90 | 5.10 | 8.26 | 0.868
35 | 88.9 | 90 | 80 | 5.10 | 4.54 | 8.48 | 0.862
36 | 86.1 | 108 | 93 | 6.12 | 5.27 | 8.35 | 0.877
37 | 88.7 | 97 | 86 | 5.50 | 4.88 | 8.16 | 0.876
38 | 88.8 | 98 | 87 | 5.56 | 4.93 | 8.47 | 0.876
39 | 86.9 | 84 | 73 | 4.76 | 4.14 | 8.33 | 0.874
40 | 89.3 | 103 | 92 | 5.84 | 5.22 | 8.11 | 0.877
41 | 89.4 | 104 | 93 | 5.90 | 5.27 | 8.21 | 0.879
42 | 85.6 | 97 | 83 | 5.50 | 4.71 | 8.33 | 0.860
43 | 89.2 | 93 | 83 | 5.27 | 4.71 | 8.15 | 0.885
44 | 87.1 | 101 | 88 | 5.73 | 4.99 | 8.27 | 0.840
45 | 90.4 | 115 | 104 | 6.52 | 5.90 | 8.79 | 0.864
46 | 87.3 | 118 | 103 | 6.69 | 5.84 | 8.38 | 0.879
47 | 90.7 | 86 | 78 | 4.88 | 4.42 | 8.35 | 0.865
48 | 90.0 | 100 | 90 | 5.67 | 5.10 | 8.16 | 0.885
49 | 95.2 | 104 | 99 | 5.90 | 5.61 | 8.33 | 0.883
50 | 84.9 | 93 | 79 | 5.27 | 4.48 | 8.59 | 0.861